EIA for Quantitative Determination of 
	anti-Thrombin-Receptor-like-1-Antibodies

Introduction
The Thrombin-Receptor-like-1 (PAR-2, F2RL1) is a seven transmembrane, G-protein- coupled receptor which is lokated in thrombocytes and t-lymphocytes. The protease trypsin splits off a N-terminal end of the receptor. It is activated by the arised domain. The occurrence of auto- antibodies against thrombin-receptor-like-1 is associated with the existence of different vascular diseases.

The CellTrend anti-Thrombin-Receptor-like-1- Antibody-EIA is designed for the determination of Antibodies (IgG) against the Thrombin-Receptor in serum and plasma.

Principle of the test

The CellTrend anti-Thrombin-Receptor-like-1-Antibody-EIA is an antibody screening test. The Thrombin-Receptor-like-1 has been pre-coated onto a microtiter plate. During the first incubation the anti-Thrombin-Receptor-like-1-Antibodies of the samples are immobilised on the plate. The auto-antibodies are detected with a POD labeled anti-human IgG antibody. In the following enzymatic substrate reaction the intensity of the colour correlates with the concentration and/ or avidity of anti-Thrombin-Receptor-like-1-Antibody.

## Performance Characteristics

## Standard curve:
5 standards between 2,5 U/ml and 40 U/ml
cut off:
20 U/ml

## Sample materials:
Serum, Plasma

## Intraassay-Precision:
7,83%

## Interassay-Precision:
9,12%

## Typical Standard Curve

## Assay Procedure

| Incubation of samples/ standards/ controls | 100 µl | 120 min, 4°C |
| --- | --- | --- |
| Wash |  |  |
| Incubation of detection antibody | 100 µl | 1 hr, room temperature |
| Wash |  |  |
| Substrate incubation | 100 µl/well | 20 min, room temperature |
| Add Stopp solution | 100 µl/well |  |
| Read at 450nm |  |  |

## Order informations

| Product | Catalog number | Price (€) |
| --- | --- | --- |
| EIA for Quantitative Determination of anti-PAR-2, 1x96 determ. | 12300 | 950,- |

In vitro-Diagnostikum